## Sheet1
ROOS |  | Service name | Institute | Contact name | Contact email | Location | Web address | Annual operating costs | Infrastructure types | Product levels (as in Copernicus: L1=raw data, L2=processed data, QC applied, interpreted, calibrated, L3=gridded products, no gap filling, L4=gap free gridded products) | Description | Services offered | Support | Outreach | Other comments | Type of users | Number of users to date | Status of service | Planned enhancements/developments | Recommendations for measuring uptake | Recommendations for increasing uptake | Registration requirements | Help/support? | Data formats | Available elsewhere? | Languages
Arctic | NorFerry | NorFerry | NIVA | Kai Sorensen | kai.sorensen@niva.no | Baltic, North Sea, Atlantic Sea and Arctic areas. | http://www.niva.no | 220000 | Ferrybox | L2 | The NorFerry infrastructure covers a network of 5 Ferrybox-systems in the Baltic, North Sea, Atlantic Sea and Arctic areas: · Installation 1: MS Color Fantasy (FA), S Baltic Sea and North Sea, 54.33 N,10.15 E to 59.91 N, 10.71 E · Installation 2: MS Trollfjord (TF), N Atlantic and Barents Sea, 60.39 N, 5.32 E to 69.74 N, 30.05 E · Installation 3: MS Norbjørn (NB), Arctic Sea - Barents Sea, 69.66 N, 19.00 E to 78.26 N, 15.55 E · Installation 4: MS Oslofjord (OF), North Sea, N Skagerrak, 59.13 N, 10.23 E to 58.94 N 11.17 E · Installation 5: MS Norønna (NO), North Sea and N Atlantic Sea, 57.58 N, 9.96 E to 65.26 N, -14.00 E In the North Sea (FA, OF, NO) the Ferryboxes (FB) are installed on Ferries, on the Norwegian coast (TF) we use the coastal steamer. For the NB ferrybox we use a cargo ship which will be reinstalled on a new ship at the end of 2014. All FB systems have core sensors with thermosalinograph, inlet temperature sensor, oxygen, Chl-a fluorescence, turbidity and systems for water sampling. One ship (FA) has the additional fluorescence sensor of PAH, Pycocyanin and cDOM and a passive sampling system. Three of the systems (FA, TF, NB) will have spectrophotometric pH and a membrane based pCO2 system end of 2014, and two (FA, TF) has radiometers and one ship (TF) has true wind sensors for improving the calculation of marine reflectance of the sea surface. On the ferries the FB data are transferred daily via internet communication to a NIVA database as part of MyOcean. For the cargo ship installation the data are transferred less frequently. The measuring frequencies for the same area are daily for FA and OF, weekly for NO and NB and biweekly for TF (11 days return trip). With 1 minute datalogging approximately every 3-500 m along the ship track are measured. The infrastructure is used for physical, pelagic biodiversity, chemical (contaminants) and biogeochemical (marine acidification) studies. The NorFerry infrastructure is unique as the fleet of Ferryboxes cover a latitude range from 54°N to 78°N with very different salinities and temperature regimes, and measures in ArcticRoos, NOOS and partly BOOS area It has also the passive sampling system and above water reflectance measurements which are unique in Europe, as well as spectrophotometric pH and membrane based pCO2 systems. Services currently offered by the infrastructure: The infrastructure is available for | The infrastructure is available for researchers to conduct research on eutrophication, biodiversity, contaminants, chemistry and biogeochemistry. The network has been used in marine monitoring around the coast (WFD), sensor testing and developments for marine acidification (JERICO), satellite product validation (ESA) and are part of several new FP7 sensor projects. The users will be given access to sensor data measured on-board and that are on-line after the QC has been performed (temp., salinity, oxygen, Chl-a Fluorescence, turbidity) and biogeochemical data when available). Data will be uploaded from daily (near real-time) to weekly access on some of the ships. | The user can access support from NIVA researchers or technical staff, and data will be quality controlled. | An information system will be investigated to be set up for passengers on the ferries. Norferry is also used by the satellite community ESA for validation and is well known in this user group. It is also used in EU FP-7 projects outside JERICO: HighROC and AquaUSERS (satellite),the sensor projects NeXOS and FP- MariaBOX and probably the Sea-on-a-ship project.. Through more EU projects and publications the NorFerry will increase the numbers of users. |  |  | RS research community, scientists | [5 empty] | From researchers/technical staff |  |  | Norwegian, English
NOOS | COSYNA | COSYNA | HZG | Willi Petersen | wilhelm.petersen@hzg.de | North Sea | htto://www.cosyna.de | 168212.5 | Ferrybox, HF radar | L2, L3? | The coastal observing system COSYNA includes three FerryBox systems in Southern North Sea, plus a stationary FerryBox in the Elbe Estuary (Cuxhaven), which are equipped with sensors for T, C/S, turbidity, DO, pCO2, pH, chlorophyll-a-fluorescence, nutrients (NOx, NO2, PO4, SiO2) and cooled water samplers. Three HF radar stations (WERRA system) in the German Bight are operating at 10.8 MHz (Sylt and Büsum) and 12.2-13.5 MHz (Wangerooge). | The moving FerryBox systems and the stationary FerryBox (Cuxhaven) are delivering data in real or near-real time to the COSYNA data server which is offers open access to the data via internet connection. Furthermore all underway FB data are delivered in near-real-time to MyOcean services including data quality flags. FB data have been used in different studies about the North Sea (e.g. Petersen et al., Ocean Dynamics 2011), and were also used for data assimilation in numerical models (e.g. Stanev et al., Ocean Science 2011). The FerryBox systems participated in the TNA and SA activity in the JERICO project providing data and access for different user groups for testing new instruments on these platforms. The HF-radar network offers possibilities for development and testing of new algorithms and concepts. All collected raw data are being stored and available from HZG’s archive. In addition HZG offers the possibility of changing the radar settings, e.g. chirp and band width, as well as antennae concepts e.g. antennae position and design offered to the user. | For ferrybox final physical data including statistical information and quality flags are accessible in real-time or near-real-time on the COSYNA database via internet. For all offered platforms users will be supported by interpretation and analysis of the data including raw data. | The infrastructure will give access to users and user-groups, facilitating users from countries where similar facilities are not available. Data from the FerryBox systems will be very useful to evaluate and/or validate ecosystem models as there are lot of biogeochemical parameter will available with high resolution in space and time. Furthermore the HF-radar system will stimulate the testing and developing of new algorithms resulting in optimized estimates of currents, waves etc. from HF radar data. In addition these calculations can be validated by measurements from other system and/or activities within the coastal observatory COSYNA such as wave riders and ADCP measurement at fixed positions or from research campaigns. |  |  |  | Operational | Ungrade of data access, new website |  | Promote in national and international research projects | Yes, user id and password required, email and institution optional. |  | ascii, kmz, wms | Yes, NOOS portal | German, English
NOOS | EMECO | EMECO | CEFAS | Eva Garnacho | david.mills@cefas.co.uk | Lowestoft, UK | http://www.jerico-fp7.eu/datatool/ | 130000 |  |  | Jerico coastal observatories include a wide range of sampling platforms (buoys, ferries, gliders, shore stations) that collect a range of different data types (mainly physical but also chemical and biological) over a wide range of time and space scales. The data is returned from platforms in delayed mode and also in some cases in real time via telemetry. Data is made available from some of these platforms to the Jerico Datatool. | The Jerico Datatool is a web application that enables integration of data from multiple platforms in order to provide a range of information for end users. Outputs include maps and graphs (e.g. time series) as well as data download in different formats (e.g CSV, KML) for use in other software packages. | The service is accessed through the Jerico web site. A web interface provides a straightforward way to make a query of the data held. A user can access all of the Jerico partner data for a given region regardless of the data source (i.e. data collector and platform used to collect the data). Support for users will be available through the web site. | The new users will include those with interest in gaining an increasingly comprehensive overview of the range of observations carried out in European waters and in gaining access to Jerico data and other derived information. The capabilities of the Jerico Datatools will be extended by increasing the amount of data available, by incorporating data from additional partners, and by adding new functions to the Datatoool specifically focussed on the needs of users that are involved in carrying out assessments of environmental quality (e.g. MSFD, WFD). In particular, the ability to integrate and provide targeted information at policy relevant regional scales (e.g. North Sea, Irish/Celtic seas) will be incorporated.
BOOS | Utö | Utö Atmospheric and Marine Research Station | FMI | Lauri Laakso | Lauri.Laakso@fmi.fi | Baltic Sea; Archipelago Sea, Island of Utö | en.ilmatieteenlaitos.fi/uto | 150262.5 |  |  | Utö Atmospheric and Marine Research Station is one of FMI’s main marine and atmospheric observing sites. Atmospheric observations cover a wide range of meteorological, climate, sea-atmosphere gas exchange and air quality parameters. Marine observations include under-water flows, waves, physical state (T, S, ice cover) of the sea, algae, and nutrients. It is also the only fixed platform in the project frequently covered by sea ice, with online underwater observations. All atmospheric and most marine measurements (except some biological observations to be completed in 2015) are operational. Services currently offered by the infrastructure: Users | Users will be given virtual access to data collected with instruments already installed. The online marine component of Utö measurement station is new; built only in 2013-14. However, diverse manual oceanographic and meteorological observations are available since 1889 (Jevrejeva et al., 2004; Haapala and Leppäranta, 1997; Haapala and Alenius, 1997; Ahlnäs, 1962). Several scientific articles have been published based on earlier observations at Utö. In 2012, Utö hosted the 60+ participants annual science meeting of ICOS-Finland (http://www.icos-infrastructure.fi/?q=node/10), including visits to different measurement locations on the island. | Users are provided with quality ensured data, in monthly/daily files as soon as it is available. All data will be documented and available in simple ASCII format with read-me descriptions. Data and metadata is delivered through FMI open data portal (http://catalog.fmi.fi/geonetwork/srv/en/main.home) according to EU-Inspire directive standards and procedures. In addition, data will be submitted in suitable global marine databases described in application, with already existing support for the users. | Through this project, new data will be made available. In particular, other partners and institutes with similar observation facilities will have use for our data. The new data available will be advertised in scientific meetings, journal articles and global database web-pages. |  |  |  | Pre-operational | [7 empty] | English, Finnish, Swedish
BOOS | MOS | SMHI Marine Observation System | SMHI | Bengt Karlson | Bengt.Karlson@smhi.se | Gothenburg and Norrköping, Sweden | www.smhi.se | 13125 |  |  | The infrastructure consists of one ferrybox going from the Gulf of Bothnia, Baltic Proper to the Kattegat; two advanced oceanographic off shore buoys, one in the Skagerrak and one in the Baltic Proper; 6 advanced coastal buoys operated in cooperation with Swedish Universities; and an HF radar system for the Skagerrak. | Data access will be provided in near real time and in delayed mode. Parameters include salinity, temperature, chlorophyll fluorescence, turbidity, oxygen, pH, pCO2, wave height and direction, current speed and direction and also in air data on temperature, irradiation and air pressure. Also data from laboratory analyses of water samples are included, e.g. chlorophyll, salinity, CDOM, coloured dissolved organic matter, phytoplankton abundance and biodiversity. Data is distributed through the Baltic Operational Oceanographic System, BOOS and through the Swedish Oceanographic Data Centre at SMHI. Data is accessible through download and through web services. Data and metadata is delivered through SMHI systems for distributing oceanographic data, e.g. http://sharkdata.smhi.se according to EU standards and procedures. | Advice on the quality of data and answers to other questions will be offered through requests by e-mail. Users are provided with documented, quality ensured data. | The web site www.smhi.se is used to inform about new services and also for visualisation of data allowing the users to inspect the data for their needs before downloading data Information about services will also be distributed at national and international meetings. New data available will be advertised in scientific meetings, journal articles and global database web-pages.
BOOS | SYKE-Alg@line | SYKE Marine Research Centre | SYKE | Jukka Seppala | jukka.seppala@ymparisto.fi | BOOS. Baltic Sea – Helsinki, Finland -> Travemünde, Germany; Helsinki, Finland -> Stockholm, Sweden | http://www.itameriportaali.fi/en/tietoa/algaline_seuranta/en_GB/algaline_seuranta/ | 68625 | Ferrybox |  | SYKE Alg@line project in the Baltic Sea monitors the state of the sea and detects algal blooms. Several millions of data points are collected annually from the Baltic Sea, using a fleet of 5-7 ferries. Ferries are equipped with a flow-through system with a thermosalinograph, chlorophyll, phycocyanin and CDOM fluorometers, turbidity meter and refrigerated sampling unit providing discrete water samples for laboratory analyses (e.g. microscopy, flowCAM, nutrients, optical analysis etc.). Additional sensors e.g. for primary production (FRRF) and light reflectance are used periodically, and new sensors for light absorption and pCO2 will be soon implemented. Data can be retrieved in real time using satellite or GSM connection (basic sensors) or downloaded during harbour visits (additional sensors). | Alg@line data is available through the MyOcean data portal and has also been delivered to users based on mutual cooperation via ftp. Data can be visually inspected on the project website. Data has been utilised by several users e.g. in analysing the extent of cyanobacterial blooms in the Baltic Sea | Users will be assisted in data analysis and data interpretation. | To attract new users, more data will be available in near real time and in delayed mode. Using EU funding, we will provide better visualization of data, allowing the users to inspect the data for their needs before downloading data. We expect that having our data more easily available and visually presented will attract research teams looking for data for validating their marine ecosystem models and remote sensing data as well as those evaluating the interannual variations in algal blooms and eutrophication status of the Baltic Sea. We expect that there will be a clear increase in users of data. |  | Environmental admin, scientists, education, public | Unknown | Operational | Better visualization, updated quality control, more languages, data tools for evaluation/reporting |  | Demos at open days | None | Users will be assisted in data analysis and interpretation |  | Copernicus | Finnish
BOOS | NIVA Research Station (NRS) | NIVA Research Station (NRS) | NIVA | Kai Sorensen | kai.sorensen@niva.no | Oslofjord, Norway. | www.niva.no | 45000 |  |  | The NIVA Research Station at Solbergstrand performs large-scale experiments in marine ecology, sediment research, biogeochemistry, and aquaculture, and tests technology for treating ballast water. Facilities at Solbergstrand covers e.g. hard-bottom and soft-bottom mesocosoms, brackish water systems, seaweed and kelp communities, pelagic communities from the upper water depths and continuous water supply from surface and 60 meter with measurements on temperature and salinity. From 2015 new biogeochemical sensors will be implemented ( pH, pCO2 and different fluorescence sensors). | The research station hosts visiting researchers to do research on marine ecology, marine biology, biogeochemistry and testing of advances carbon systems sensor. Many national and international projects have taken advantage of the station, and research groups have visited the stations for instance to study the effects of hard-bottom communities for oil exposure and eutrophication and effects on soft bottom organisms on high CO2 and variable pH systems. In early 2015 the research station will also offer virtual access to sensor data from water intakes from the Oslo fjord from surface to 60 meters depth including salinity, temperature and new biogeochemical data for climate studies. | NIVA staff will support via data QC and setup of remote data access. | The research station is already well used by many EU projects and many international groups are using this station to perform experiments.. Virtual Access through this project will further increase the user base. |  |  |  |  | Improve online data access |  |  |  | For dta QC and access
MEDGOOS | LiSO-HFR | LiSO-HFR | CNR-ISMAR | Annalisa GriffaMarcello Magaldi | annalisa.griffa@sp.ismar.cnr.it; marcello.magaldi@sp.ismar.cnr.it | Ligurian Sea | http://radarhf.ismar.cnr.it | 87500 | HFR | L1, L2? | 4 SeaSonde CODAR HF radar system, used to monitor surface currents and transport in coastal areas with extensive spatial coverage (30-100km) and high temporal resolution (30 minutes). | The system currently provides map visualisation and animation for a quick insight into the evolution of currents. Data access services are presently under implementation and they will be available within JERICO. The following services will be provided. During the first two years (up to M24), a coherent set of raw data and metadata will be provided for testing methods, computing total velocities and QC. During this period, the main target users are the European HF radar network participants interested in scientific methodological investigation and calibration with benchmark dataset. After M24, hourly radial and vectorial velocity data with a basic QC as harmonized in WP2 will be provided for environmental monitoring and investigation. Particle tracking algorithms will be made available to simulate particle releases and transport for environmental applications (e.g. investigation of plankton or pollutant transport). During this period, the main target users are coastal scientists interested in environmental applications. | Support for data access and download: example scripts will be provided to the interested users. Algorithm description and scripts will be provided together with test cases to assess algorithm setup. | As stated above, two different groups of potential users will be sought. The first group (up to M24) involves the European HF radar network participants, with the goal of providing a data set for scientific methodological studies on data retrievals and quality control. The opportunity to use the JERICO data set in this sense will be presented at dedicated HF radar EuroGOOS and network meetings. The second group (after M24) includes the larger community of coastal scientists interested in environmental applications. We expect that new potential users will be attracted through outreach activities at different levels, from international scientific meetings to stakeholders meeting. JERICO will provide the first opportunity to open the infrastructure to users other than the host country, and it is expected that the demand for the access will include other nations given the transboundary nature of coastal currents and transport. |  | Coastal scientists, public authorities for coastal/fishery management |  | System deployed, data from previous installation available. Pre-operational (no dedicated website/portal yet?) |  | Counter for number of accesses | Synergy with other access points, e.g. EMODNET |  | Help file | THREDDS: WMS, WCS, OpenDAP, NetCDF
MEDGOOS | POSEIDON | Monitoring, forecasting and information systme for the Greek Seas | HCMR | Leonidas Perivoliotis | annalisa.griffa@sp.ismar.cnr.it; marcello.magaldi@sp.ismar.cnr.it | Aegean Sea, Cretan Sea | http://poseidon.hcmr.gr/ | 87375 |  | L1,L2,L4 models | POSEIDON system is a monitoring, forecasting and information system for the Greek Seas. The coastal observing part of the system consists of three oceanographic stations that are deployed in Saronikos gulf. A series of atmospheric parameters such as the wind speed and direction, the atmospheric pressure and the air temperature are recorded in all stations together with a number of surface marine parameters such as waves, sea surface temperature and salinity, current speed and direction. In the Northern Aegean and the Cretan Sea, temperature and salinity recordings are collected for the first hundred meters while in the Cretan Sea biochemical data (chlorophyll-A, dissolved oxygen) down to the same depth are also collected. The last two years, a ferrybox system has been installed in a high-speed ferry in the Piraeus-Heraklion route, providing data about the sea surface temperature and salinity, chlorophyll-A, dissolved oxygen and turbidity of the Southern Aegean Sea. The forecasting module of the POSEIDON system consists of four numerical models that provide in daily basis forecasts regarding the atmospheric, sea state, hydrodynamic and ecological conditions of the Greek Seas. | The POSEIDON Database that contains the physical, chemical and biological data recorded by the oceanographic stations is available online, offering also downloading functions for the whole data set. The data are released both in real-time and delayed modes, providing data in different level of processing. The POSEIDON Live Access Server (LAS) is a friendly-to-use graphical interface for accessing the results of all the POSEIDON forecasting models for the last five years. Using this advanced service, the user can select specific areas for a certain period of time and display or download the model results, plot vertical transects over a period of time, produce time-series for specific points in the model’s domain area, etc. This service is advancing the use of the numerical model outputs by providing the online tools for efficient processing. | Information about data collection and processing will be available. The implementation of the different level of Quality Control procedures will be highlighted and explained: The real-time time QC procedures, the delayed mode analysis and the validation procedures with reference to the recent climatology will be explained in order to be evident the different level of processing and the production of different data sets. Regarding the online processing of numerical model results, detailed instructions will be available to users in order the variety of options that are offered for the analysis of the models data to be efficiently applied. Furthermore, a helpdesk service will be introduced that will be able to answer the user’s queries offering guidance and support both in scientific and technical issues. | Currently, both the POSEIDON database and the processing of the numerical models online tools are mainly acessible to the scientific community since the provided information is technical and scientific. Efforts will be made for a provision of a more user-friendly interface with a much simpler and easy to understand terminology that will facilitate the use of the services by users beyond the scientific community. Under this development, the online services will be addressed to organizations that are dealing with the marine environment such as marine authorities, environmental agencies, NGOs, etc. |  | General public for non registered, academic and research for registered services, few private sector | 150 registered. Free services 1.2 milliion per month | Operational | Expansion of observing component | Analysing access files | Upgrading products | Not for forecasting and monitoring but yes for some specific services | Helpdesk
MEDGOOS | SOCIB Data Centre Multi Platform Observatory | SOCIB Data Centre Multi Platform Observatory | SOCIB | Joaquim Tintore | jtintore@socib.es | Balearic Islands | www.socib.es | 100000 | RV, HFR, Gliders, FP, Modelling (currents+waves) | L2? | SOCIB Data Centre provides access to the multi-platform observing system of the Balearic Islands in the western Mediterranean. SOCIB data Centre allows direct access to all the observations and sensors available from the different SOCIB Facilities, including: HF radar, gliders, drifting buoys and profilers, fixed stations (sea level, coastal stations, weather stations, oceanographic deep and coastal moorings), beach monitoring stations (images from real time cameras, beach morphology and weather variables). In this project we will provide access to 3 installations:  The HF Radar Ibiza Channel: provides surface currents on a 3 km-resolution grid at hourly intervals, with a range up to 74~km (40 nautical miles).  The Ibiza Channel Fixed Station located in a biodiversity international hot spot: made up of a weather station, a wave recorder, a multi-parameter probe (oxygen, chlorophyll, turbidity) at 1 m, a current profiler at 5 m, a temperature recorder at 5 m, and three conductivity and temperature recorders at 20, 60 and 95 m.  The Bay of Palma Buoy located in a key touristic area: made up of a weather station, a wave recorder, a multi-parameter probe (oxygen, chlorophyll, turbidity) at 1 m, a current meter at 1 m, and a current profiler at 2 m. | the SOCIB data centre provides different kinds of data, from the multi-platform observing systems to scientists and society in general (including Search and Rescue Operators such as SASEMAR (HF radar hourly data)). Specific products and services (Seaboard: http://seaboard.socib.es) have been designed and tailored for end users from different sectors: recreational boating, marinas and harbours, tourists and hotels, divers and surfers, etc. At a European level, data from the infrastructure leads to high-quality science, such as the new Mean Dynamic Topography for the Mediterranean Sea (SMDT-MED-2014). The availability of quality controlled data in near real-time is of crucial importance, amongst other things, for model validation. | the SOCIB data centre will make available quality controlled data in a standard format (NetCDF CF-compliant). The data centre will also provide support for discovery, cataloguing, visualisation and download of the corresponding data files. | SOCIB Data Centre will make available and communicate the multi-platform observing systems approach from SOCIB, by this providing new opportunities of access to new European research teams, civil society and policy makers. SOCIB Data Centre will also develop new end-user applications related to specific products and services to attract different targets and end users such as fisherman/sailors/nautical sports, professors and students, environmental managers, etc.; adapting the data to the needs of the different end users through for example multimedia applications for mobile platforms, information panels for the touristic sector (hotels/SeaBoards), harbors and marinas, educational books for students. |  | Public, Polilcy makers, search and rescue, scientists | approx 2000/month | Operational/pre operational | New end user applications |  |  | None |  | NetCDF (CF)
MEDGOOS | Environmental Observable Littoral | Environmental Observable Littoral | CNRS | Laure Mousseau | laure.mousseau@obs-vlfr.fr | Ligurian Sea | http://www.obs-vlfr.fr/Innovations/EOL/ | 70781.25 |  |  | This autonomous platform is deployed at the mouth of the bay of Villefranche-sur-mer, (43°40'54.16''N; 07°19'10.48''E). It is moored over rocky bottom depth of 90 m. As no continental platform is present in this area, this site is under offshore influences, for physical parameters as well as for biological ones. Its equipment comprises: a meteorological station (station Vaisala WXT 520), a winch dedicated to ctd (temperature and salinity at the moment, extension to others sensors in the future) profiles. Core oceanographic parameters (temperature, salinity, fluorescence, dissolved oxygen) are acquired with a SeaBird SBE19 on an hourly basis at a fixed depth (1.5 m). A fixed pH sensor is deployed in a developmental phase of validation. | This structure, newly deployed, contributes to the network SOMLIT within its "High Frequency Acquisition" part. Validated time series data will be provided to the user community (scientists, policy makers, etc.). As this platform is closed to a historical sampling site (Point B site, weekly sampling since 1957 of physical, chemical and biological parameters), it provides high frequency data which continue a long multi-parametric time series. This infrastructure is available for researchers to conduct projects on ecosystems dynamics as well as on the evolution of the Mediterranean Sea within the context of climatic changes and/or anthropogenic forcing. | The data will be available on line according to a data access policy. Information about data collection, processing, etc. will be made available. | More data are planned to be acquired with new sensors (e.g. nitrate, in situ cytometer). We expect to improve the availability and validation of the data through this project, and developed collaborations through the community to assess the Mediterranean specificity and evolution through time.
Black Sea | NOMOS | National Operational Marine Observing System | IO-BAS |  | palazov@io-bas.bg | Western Black Sea | http://www.bgodc.is-bas.bg | 270000 |  |  | NOMOS is a system designed to allow the real-time assessment of weather and marine conditions in the western part of Black Sea. It consists of several subsystems. The main goal of NOMOS is to support sustainable development of the Bulgarian Black Sea coast and EEZ. The proposed NOMOS’s installations within JERICO-NEXT project are: Installation 1, Galata platform is located in western part of the Black Sea on the Bulgarian shelf 26 km east from the city of Varna. The measuring system comprises a weather station, water temperature, conductivity, DO, pH, chlorophyll sensors and ADCP. Installation 2, Port Operational Marine Observing System is a network of distributed sensors and centralized data collecting, processing and distributing unit. The parameters measured by POMOS are: wind speed and direction, temperature, humidity, atmospheric pressure, visibility, solar radiation, water temperature and salinity, sea level, currents speed and direction, significant wave height.Installation 3, Shkorpilovci coastal station is located about 40 km south from Varna. The measuring system consists of weather station, sea level gauge, UV radiation, total solar radiation sensors and ADCP on 18 depth. Installation 4, BulSel is the Bulgarian sea level service. The system is equipped with MIROS and VEGA plus altimeters. NOMOS tries to envisage the strategy to connect operational oceanography data and products at different scales to applications that give reliable, scientifically controlled information to decision and policy makers in the Black Sea countries to decide prevention/adaptation/mitigation actions against the deterioration of the of the Black Sea environmental problems. Resolving conflicts between commerce, recreation, development, utilization of natural resources, and conservation in an informed, timely and cost-effective fashion requires a significant increase in our ability to monitor (nowcast) and forecast the Black Sea environment. MOMOS offered operational monitoring of the Western Black Sea to find better solution to conflicting issues, by supplying the scientifically correct information to wide range of beneficiary living and working in the Black Sea coastal area. Last but not least NOMOS can support the scientific studies of the Black Sea climate variability and change by increasing the availability of long time series of quality controlled data. | The service that we offer for the VA is a real time access to data of all or selected platforms and sensors. The majority of in situ data that are commonly used for monitoring of the Black Sea are based on near-shore monitoring programmes or irregular cruises that provide either non-synoptic, coarse resolution realizations of large scale processes or detailed, but time and site specific snapshots of local features. These gaps can be filled in by data obtained from real time observing infrastructures that provide information with sufficiently high temporal frequency. The information obtained from the NOMOS is wildly used by scientists from the Black Sea countries. The data are used for assimilation and validation of regional models (Kubryakov et al., 2011), assessment of the wind and wave climate of the region (Valchev et al. 2010) and validation of satellite products (Slabakova et al., 2009). Recent interest of NASA and JRC led to the installation of AERONET system of on the Galata platform which is part of the global AERONET-OC network component. Data is freely available thought the NASA web site http://aeronet.gsfc.nasa.gov. Parts of the NOMOS data are distributed thought the MyOcean and SeaDataNet data portals. In 2010 the registered users of the NOMOS reached 2100 users. | Data quality control, data analysis.
IBIROOS | BHFR | BHFR | AZTI | Julien Mader | jmader@azti.es | SE Bay of Biscay | http://www.euskalmet.euskadi.net/s075853x/es/meteorologia/selsensorR.apl?e=5&cod_esta=R096 | 29033.36 |  | L1,L2/3 | This HF radar system is composed of two CODAR Seasonde antennae (transmit frequency 4.525 MHz); The geographical positions of the antennas, located in the Northern Spanish Coast, are: Matxitxako antenna 43º 27.350' N 2º 45.163' W; and Higer antenna 43º 23.554' N 1º 47.745' W. The measuring area in the South-eastern Bay of Biscay is 43º24’N-44º20’N 1º20’W-3º00’W. | Access through WMS/WFS and web services and through European data infrastructure (EuroGOOS). This infrastructure offers many benefits for the Basque Operational Oceanography Network such as: the improvement of the knowledge about surface currents and their forcing physical processes, marine safety, search and rescue, pollution response, validation and calibration of both hydrodynamic and pollutant drift forecasting models, data assimilation on progress, etc. | The access to raw radial data and processed 2D surface currents will be offered to the users for scientific and applied purposes (Coastal processes, marine safety, search and rescue, pollution response, etc). Scientific support will be provided on previous validation works on the HF radar system and on the exploitation of the data. Technical supports will be also provided for producing advanced real time and short term prediction products (mesoscale circulation, transport, etc), for validation and data assimilation of models in the Bay of Biscay, and for comparitive studies with otYher observing systems. | Diffusion in European data Infrastructure through ROOSs structure: EMODnet Physics | [9 empty] | WMS/WFS | Eurogoos data infrastructure
IBIROOS | SPI-S | SPI-S | CNRS | A Gremare | a.gremare@epoc.u-bordeaux1.fr | Arcachon, France | http://spiarcbase.epoc.u-bordeaux1.fr/ | 65000 | Software | Software for processing sediment profiles | Sediment Profile Imagery (SPI) provides a sound and cost effective alternative to classical fauna analysis in assessing the ecological quality of benthic habitats composed of cohesive sediments (Labrune et al 2012). These characteristics confer to this technique a high potential in the development of long term monitoring project over large spatial scales such as requested by the WFD and even more so by the MSFD. This technique however still suffers from the complexity and the nature which is derived from images, which makes it highly operator-dependent. Along this lines, the CNRS has developed a software (i.e., SPIArcBase) specifically designed for the semi-automated analysis of SPI during the I3 project JERICO (Romero et al 2013). | Within JERICONext, we will go one step further and will make the software available online, together with a technical assistance to its use, as a virtual access service. The objectives by doing so are to: (1) enlarge the community of SPIARcBase users, (2) in return pursuing the improvement of the software by improving its components based on “learning” approaches (eg computation of the apparent Redox Potential Discontinuity), and (3) provide a complete and comprehensive service offer regarding SPI in relation with the TNA that JERICO Next is also providing to new field deployments of the SPI hardware (cf. WP7). | Assistance in use of software, image interpretation and computation of ecological quality indices. | EU funding will allow the new users to get assistance for the use of a software composed of several complex procedures both in terms of image analysis techniques and data management procedures. New users of sediment profiling imaging will also benefit from the ecological expertise of the EPOC benthic ecology research group. This assistance will clearly contribute to an increase in the number of users. The use of sediment profile imagery is currently increasing within different fundamental (i.e., study of bioturbation) and applied (benthic habitat quality assessment) fields. Several European countries (eg, France, Ireland, Sweden, Norway, England and Greece) are already equipped with the hardware and the need to monitor large spatial areas will further increase the uptake of this technique. |  | Scientists, consultants | Unknown | Operational |  |  | Connection with WP7 and JRAPS | None
IBIROOS | MONICAN | Monitoring of Nazare Canyon network | IH | Joao Vitorino | joao.vitorino@hidrografico.pt | Nazare, Portugal | http://monican.hidrografico.pt/ | 61308.6 |  |  | Fixed point observing system comprised of: MONICAN 1 - a real-time multiparametric buoy moored over bottom depths of 2100m and equipped with a wave sensor, a 3m height meteorological mast (anemometer, air pressure, air temperature and relative humidity), sensors for temperature, fluorescence-chlorophyll, dissolved O2 and oil-spill at 1m below surface, sensors for temperature at 20m, 50m,100m and 200m below surface, ADCP with currents at 32 bins depths from 12m to 105m (3m resolution); MONICAN 2 - a real-time multi-parametric buoy moored over bottom depths of 90m and equipped with a wave sensor, a 3m height meteorological mast (anemometer, air pressure, air temperature and relative humidity), sensors for temperature, fluorescence-chlorophyll, turbidity, dissolved O2 at 1m below surface, ADCP with currents at 32 bins from 12m to bottom (3m resolution); 2 radar tide gauges (type Vegapuls61), one installed in the port of Nazare and the second one installed in the port of Peniche, each one measuring sea level with a sampling interval of 1 minutes. | Real-time data from 4 fixed platforms, derived products (6 hourly observations and forecasts), archived reprocessed data (for each 6 month periods). Data available via IH webpage, presently in graphic and table form but formats will be extended as part of the proposed service. | a) Reports with information about real-time data for each platform (types of sensors, existing processing, existing QC) b) For archive data, reports on processed data; c) helpdesk for users. | Publicise the available information and the potentiality of the infrastructures: (a) to the scientific community (through participation in national and international conferences), (b) to the local authorities (contacts with coastal municipalities, maritime and port authorities, economical agents) and (c) to the general public and schools.
IBIROOS | Eulerian observatory network data service | Eulerian observatory network data service | Ifremer | Guillaume Charria | guillaume.charria@ifremer.fr | Brest, France | http://www.coriolis.eu.org/Data-Services-Products/View-Download/Eulerian-networks-fixed-buoys | 139058.75 | Fixed platforms |  | The infrastructure relies on the CORIOLIS data management system which gathers expertise on IT technologies, marine data management and quality control for both open ocean (e.g. ARGO, MYOCEAN) and shallow water (JERICO1, RECOPESCA, PREVIMER) observations. The observatories currently managed by the data service infrastructure sea level, river flows and ocean physics (temperature, salinity). | The Eulerian observatory network data service provides to operators of observatories and data users:  ingestion (collection and integration) of the raw data flows from the transmission system of the platform and long term archive in CORIOLIS database  quality control by automated and manned visual processes by experts managing various water column observations in sismer/coriolis team at Ifremer.  Advanced web interface for near real time dissemination with subsetting of the controlled datasets with visualisation and download (csv and netcdf) function. Users need to be authenticated to download datasets | The SISMER/CORIOLIS team will consider the new observatories to be managed by the infrastructure so that their data are collected and loaded (ingested) in real time or near real time in the CORIOLIS database. The new data flow will be qualified in real time through automated procedure. The observations may also be visually qualified by an expert in near real time or delayed mode depending on the requirement for the user's observatory. The data are disseminated (visualization, download) through the web interface. | Currently the data are assimilated through observatory dedicated batch procedures run on a regular basis. The flexibility of the data system will be improved so that the system can be quickly configured to collect new observatories data. The quality assessment procedures will be improved to better consider the shallow water specificities according to an analysis report done after PREVIMER experiment by Charria et al. The style of the web interface may also be upgraded to match state-of-the-art standard of web systems. |  | Mainly research, private companies | Unkown, to be defined end of 2015 | Operational | Update of website beginning 2016 |  |  | Free user account | Dedicated helpdesk, cdoco-exploit@ifremer.fr