Wilhelm Petersen, HZG (wilhelm.petersen@hzg.de)				29/07/2026

David Hydes, NOC (david.hydes@noc.ac.uk)

Draft Agenda JERICO FB Workshop 30 & 31 Aug 2011 at HZG

Start 10:30 Tuesday 30 August

“Dedicated to the reviewing the state-of-the-art; discussion on the harmonisation issues between systems; and identification of and priority setting on technological and scientific gaps to be addressed in JERICO. This will give important and detailed inputs to the JRAs.”

“To be successful as a viable infrastructure, JERICO will need to ensure that the flow of real-time and delayed mode data coming from the participating observing networks will be reliable, accessible and easy to distribute.”

JERICO products supported by this meeting:-

1. Report on current status of ferryboxes

2. (Action plan for development of ) best practice documentation including:-

i 	sensors

ii	data handing (ship and/to shore)

iii	data QA and QC

iv	data archiving

Agenda items

- Currents Overview of FB-within JERICO

10min presentation of each partner: 
routes, technical solution (kind of flow-through system, data transmission (GPRS, satellite..)  etc.), key parameter (T, S, Turb, Chl-a), additional parameters (pH, DO, pCO2, radiation, new sensors, maintenance procedures including anti-fouling measures and calibration practise, technical solution of data handling (including data transmission technologies like GPRS, satellites etc…),

- New and special sensors - experiences in FerryBox systems and compilation of information on new and potential systems

  - algal

    - chlorophyll-a fluorescence

    - phycoerythrin and phycocyantin fluorescence

    - chlorophyll-a absorption

  - nutrients

  - radiance (photochemistry, chlorophyll-ratio)

  - CO2, pH and alkalinity

  - Specific Calibration and biofouling requirements for new sensors

Presentation

Dominique Durand – Progress with MyOcean-EuroGOOS-EMODNET-SeaDataNet Linkages

Followed by

- Overview of quality assessment procedures in the community

  - quality criteria

  - quality flags (according to SeaDataNet)

  - data vocabularies consistent with SeaDataNet for use by EMODNET

Introduction

Allessandro Crise – Goals of QC development in JERICO

Followed by

- Status on quality control and data handling (in connection with WP5)

  - data transfer, communication (GPRS, satellite…)

  - real time data processing incl. QC/QA  - community needs

  - post processing incl QC/QA - community needs

  - data storage and access for internal and external use (via pick user pick up from an ftp site?) and data flow flow to other communities (MyOcean, JERICO, EMODNET)

- Miscellaneous:

  - Problems and solutions for dealing with “random walk” ferryboxes on research ships

  - Community needs for live VDU presentation of data and outreach information. Do we need generic passenger displays for ferries or are shore based displays wanted as well.

  - Future linkage of CO2 observation into the ICOS Ocean Thematic Centre:

- Harmonization of FB activities

  - Summary and action list from above

  - Input to next JERICO workshops and to other WPs

    - Recommendations concerning quality control to be addressed to WP4

    - Recommendations concerning data handling to be addressed to WP5

    - Recommendations concerning new sensors to be addressed to WP10

  - Any other business

Working session preparing the Status Report:-

SMHI: 	Bengt Karlson

NIVA: 	Kai Sørensen

SYKE: 	Seppo Kaitalaa

HCMR: Manolis Ntoumas

MUMM: Patrick Roose

CEFAS: Rodney Forster

POL: 	John Howarth

NIOZ: 	Herman Ridderinkhof

NOC: 	David Hydes

HZG: 	Wilhelm Petersen

EMODNET looks set to be well supported by the EU now and in the future so what we do has to be compatible with it. But also we should think about what we want out of it in return and lobby with EMODNET for it.