- Task 4.1 Calibration

- Overview of the calibrating facility

The following facilities are part of an observational network in the Gulf of Trieste comprising also coastal meteorological stations:

1# FACILITY ID: PALOMA

BRIEF DESCRIPTION: dynamic pylon in the Gulf of Trieste, 45°37.097’N, 13°33.913’E), 12 km offshore, bottom depth 25 m. Data: sea temperatures (2, 15, 25 m below s.l.) plus meteorological parameters.

2# FACILITY ID: MOLO FRATELLI BANDIERA

BRIEF DESCRIPTION: meteo-marine station inside the harbour of Trieste, water depth 6 m. Data: sea temperature (0.4 m, 2.0 m and 6.0 m  below s.l.) plus meteorological parameters.

3# FACILITY ID: MOLO SARTORIO

BRIEF DESCRIPTION: tide gauge station inside the harbour of Trieste. Parameters: sea level.

- Contact Details

NAME/DESIGNATION (if any): ////////////

- MANAGING INSTITUTE/ORGANIZATION:  CNR National Research Council of Italy

DEPARTMENT (if any):  ISMAR Institute of Marine Sciences, Trieste section

- ADDRESS:

Viale Romolo Gessi, 2

34123 Trieste

- COUNTRY:  			Italy

- TEL:  				+39 040 305312

- FAX:  				+39 040 308941

Name of contact-person:  	Roberto Colucci

- E-mail: 			r.colucci@ts.ismar.cnr.it

- Part a: General Information

1. Does your calibrating facility possess a well-defined organizational frameworkwith

Dedicated staff?										No

Clear hierarchy?										No

Transparent chain of responsibility for management, technical/scientific

and operational decisions)?								No

(If No to any of the above, please provide a brief description of how your facility is organized below)

2. Briefly describe the size and nature of the annual operating budget of your facility.

Is it funded by your Institute/Centre?							Yes

If Yes, is the funding constant?							            No

Is it funded by Projects?									Yes

Is there separate funding for upgrading or acquiring new instrumentation, etc.?	Yes

(Kindly provide an estimate of the annual operating budget and any additional information you think may be helpful below)

We don’t have a calibration facility in house.  Annual operating budget for our network in the Gulf of Trieste is about 30000 euros for maintenance and about 30000 euros for personnel costs.

3. Does your facility employ Quality Management Standards - ISO 9000:2000,

ISO 10012, Good Laboratory Practice (GLP), and the like - to its calibration

systems? 											No

4. Does your facility possess any kind of accreditation for the calibrations?		No

5. Does your facility actively endorse a policy of continual training/education of

personnel actively involved in calibration activity? 					No

(If Yes, please provide a brief description of the kind of activities promoted below)

6. Does your facility maintain a documented in-house Quality Assurance Programme?	No

7. Does your facility maintain a formal Quality Manual (containing, at the

very least, listings and descriptions of equipment and procedures,

maintenance/calibration records and certificates for instrumentation, and

safety precautions and regulations)?							No

8. Does your facility make use of control charts (Shewhart Charts, other) for

Quality Control purposes?								No

(If Yes, please give details below)

9. Can your facility assure an effective traceability chain to primary standards or,

in their absence, to conventionally accepted reference material (certified or

otherwise)?										No

10. Does your facility furnish uncertainty estimations for its calibration systems?		No

11. Does your facility maintain links of any kind with the National Metrology

Institute/s (NMI/s) of your country?							No

12. In the list of sensors below, please indicate only the ones that you currently never calibrate yourselves; in each case, kindly report the calibration provider (manufacturer, other) and the typical calibration interval (trimonthly, half-yearly, yearly, other) you are presently employing.

- Physical sensors for:

 Temperature, __________________                  Conductivity (Salinity), _______________

 Dissolved oxygen, __________________          Water Currents, __________________

 Pressure, __________________

- Optical sensors for:

 Chlorophyll a, __________________                Turbidity, __________________

Photosynthetically Active Radiation (PAR), __________________

- Chemical sensors for:

 Phosphates, __________________       Silicates, __________________

 Nitrates, __________________  Nitrites, __________________

 Ammonia, __________________       Dissolved oxygen, __________________

pH, __________________        Total alkalinity, __________________

 Total carbon dioxide, __________________   Dissolved organic carbon, __________________

Total organic carbon, __________________

- Task 4.1.1 Physical Sensors

Part b: CalibrationParameter/measurand*: Temperature

Facility: PALOMA

Sensor type: 			T020 TTA SIAP+MICROS, PT100 Platinum Resistance

Unit of measurement: 	°C

Range: 			-30° - +60°

Accuracy: 			±0.1 °C

Precision: 			±0.1 °C

Calibration uncertainty (if available): ______________________________

1. How often do you calibrate the sensor/s or sensor system/s you are presently using for the specified parameter/measurand: please list the typical calibration interval/s you are employing; note that if you are calibrating irregularly, kindly specify why and when (e.g. before a deployment, following a malfunction, etc.).

Three of the sensors were installed in 2008, one has been installed one week ago after the lost of the previous one. They were calibrated before being mounted on the structure and will be checked against regular CTD casts during cruises.

2. Please provide a brief description of the calibration setup, including a list of the principal equipment, reference material (certified and/or conventionally accepted) and instrumentation involved in a typical calibration operation.

Calibration is done using a “mercury well thermometer” (termometro a pozzetto a mercurio) dropped down in a tank with the probe to calibrate.

3. Do you employ reference material which are mutable or unstable

(e.g. secondary standards, reagent solutions, gas mixtures,

pressure generators, etc.) to calibrate the sensor/s or sensor system/s

you are presently using for the specified parameter/measurand.  			No

4. In your view, does your facility ensure an effective traceability chain for the

specified parameter/measurand? 								No

5. Please provide a brief description of the procedures employed to ensure adherence of the performances of the principal equipment and reference instrumentation of the calibration setup to factory specifications (in-house monitoring of performance, in loco re-calibration, servicing by the manufacturer, etc.).

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

(Add lines as necessary)

6. Does your facility maintain a Manual with a description of the calibration method

and the measuring procedures, together with details of sample treatment and

preparation when these steps are present?						No

7. In your view, is regular factory calibration/servicing necessary to obtain

optimal performances from your sensors/instrumentation for the

specified parameter/measurand in the field?                                                                     No

8. Do you perform field calibrations for the specified parameter/measurand? 		    Yes

Cross check with CTD measurements during periodic cruises (calibrated SBE19 or SBE9plus)

9. Does your facility perform:

- internal quality audits to monitor and assess its

calibration system for the specified parameter?						No

-    independent quality audits to monitor and assess its

calibration system for the specified parameter?						No

10. Does your facility actively maintain an archive containing issued calibration

reports/certificates for the specified parameter/measurand? 				Yes

We have an Excel file containing all the information of the calibration done before installing the sensors on the facilities. The comparison with CTD data is not presently stored in any archive.

11. Do you have any suggestions or ideas for improving the quality of your

calibrations for any particular sensor/sensor system you are presently using

for the specified parameter/measurand (e.g. innovative reference material,

modifications to existing methodologies or new methodologies

you have developed, etc.)?								No

12. Do you have any suggestions or ideas for improving the general quality

of the calibration of sensors or instruments for measuring the specified

parameter/measurand (e.g. testing and promoting the use of new

reference material, development of new methodologies, etc.)?				No

- Task 4.1.1 Physical Sensors

Part b: CalibrationParameter/measurand*: Temperature

Facility: MOLO FRATELLI BANDIERA

Sensor type: 			T020 TTA SIAP+MICROS, PT100 Platinum Resistance

Unit of measurement: 	°C

Range: 			-30° - +60°

Accuracy: 			±0.1 °C

Precision: 			±0.1 °C

Calibration uncertainty (if available): ______________________________

1. How often do you calibrate the sensor/s or sensor system/s you are presently using for the specified parameter/measurand: please list the typical calibration interval/s you are employing; note that if you are calibrating irregularly, kindly specify why and when (e.g. before a deployment, following a malfunction, etc.).

Probes calibration is done 2 times per year

2. Please provide a brief description of the calibration setup, including a list of the principal equipment, reference material (certified and/or conventionally accepted) and instrumentation involved in a typical calibration operation.

Calibration is done using a “mercury well thermometer” (termometro a pozzetto a mercurio) dropped down in the water at the same depths of the probes.

3. Do you employ reference material which are mutable or unstable

(e.g. secondary standards, reagent solutions, gas mixtures,

pressure generators, etc.) to calibrate the sensor/s or sensor system/s

you are presently using for the specified parameter/measurand.  			No

4. In your view, does your facility ensure an effective traceability chain for the

specified parameter/measurand? 								No

5. Please provide a brief description of the procedures employed to ensure adherence of the performances of the principal equipment and reference instrumentation of the calibration setup to factory specifications (in-house monitoring of performance, in loco re-calibration, servicing by the manufacturer, etc.).

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

(Add lines as necessary)

6. Does your facility maintain a Manual with a description of the calibration method

and the measuring procedures, together with details of sample treatment and

preparation when these steps are present?						No

7. In your view, is regular factory calibration/servicing necessary to obtain

optimal performances from your sensors/instrumentation for the

specified parameter/measurand in the field?                                                                     No

(If Yes, please provide details of the sensors/instrumentation, indicating also the intervals you recommend for factory calibration/servicing, below)

8. Do you perform field calibrations for the specified parameter/measurand? 		    No

9. Does your facility perform:

- internal quality audits to monitor and assess its

calibration system for the specified parameter?						No

-    independent quality audits to monitor and assess its

calibration system for the specified parameter?						No

10. Does your facility actively maintain an archive containing issued calibration

reports/certificates for the specified parameter/measurand? 				Yes

We have an Excel file containing all the information of the calibration done twice per year.

11. Do you have any suggestions or ideas for improving the quality of your

calibrations for any particular sensor/sensor system you are presently using

for the specified parameter/measurand (e.g. innovative reference material,

modifications to existing methodologies or new methodologies

you have developed, etc.)?								No

12. Do you have any suggestions or ideas for improving the general quality

of the calibration of sensors or instruments for measuring the specified

parameter/measurand (e.g. testing and promoting the use of new

reference material, development of new methodologies, etc.)?				No

- Submitted on: 20 December 2011

- Compiled by: Roberto Colucci