- Task 4.1 Calibration

- Overview of the calibrating facility

FACILITY ID: Senigallia pylon

BRIEF DESCRIPTION: Senigallia pylon is installed 1.2 nmiles offshore 15 km offshore the town of Senigallia, Italy, Central Adriatic Sea, on a bottom depth of 10.5 m. Autonomous instrumentations cover meteorological (wind speed and direction, air temperature) and oceanographic parameters (sea temperature, current speed and direction, sea level).

- Contact Details

NAME/DESIGNATION (if any): ////////////

- MANAGING INSTITUTE/ORGANIZATION:  CNR National Research Council of Italy

DEPARTMENT (if any):  ISMAR Institute of Marine Sciences, Ancona Section

- ADDRESS:

Largo Fiera della Pesca, 1

60125 Ancona

- COUNTRY:  			Italy

- TEL:  				+39 0712078855

- FAX:  				+39 07155313

Name of contact-person: 	Elio Paschini

- E-mail: 			e.paschini@ismar.cnr.it

- Part a: General Information

1. Does your calibrating facility possess a well-defined organizational framework with

Dedicated staff? 										    No

Clear hierarchy? 										    No

Transparent chain of responsibility for management, technical/scientific

and operational decisions)?								    No

We can test data (excluding currents measurements) comparing to the measurements made with the CTD lowered in the vicinity

2. Briefly describe the size and nature of the annual operating budget of your facility.

Is it funded by your Institute/Centre?							    No

If Yes, is the funding constant?							    Yes/No

Is it funded by Projects? 									    Yes

Is there separate funding for upgrading or acquiring new instrumentation, etc.?	    Yes/No

(Kindly provide an estimate of the annual operating budget and any additional information you think may be helpful below)

It is mainly funded through projects. A partial support for maintenance is provided by CNR since 2011.

3. Does your facility employ Quality Management Standards - ISO 9000:2000,

ISO 10012, Good Laboratory Practice (GLP), and the like - to its calibration

systems? 								                                      No

4. Does your facility possess any kind of accreditation for the calibrations? 		   No

5. Does your facility actively endorse a policy of continual training/education of

personnel actively involved in calibration activity? 					    No

6. Does your facility maintain a documented in-house Quality Assurance Programme?	    No

7. Does your facility maintain a formal Quality Manual (containing, at the

very least, listings and descriptions of equipment and procedures,

maintenance/calibration records and certificates for instrumentation, and

safety precautions and regulations)?                                                                                 Yes

8. Does your facility make use of control charts (Shewhart Charts, other) for

Quality Control purposes? 								    No

9. Can your facility assure an effective traceability chain to primary standards or,

in their absence, to conventionally accepted reference material (certified or

otherwise)?										    No

10. Does your facility furnish uncertainty estimations for its calibration systems?		    No

11. Does your facility maintain links of any kind with the National Metrology

Institute/s (NMI/s) of your country?							    No

12. In the list of sensors below, please indicate only the ones that you currently never calibrate yourselves; in each case, kindly report the calibration provider (manufacturer, other) and the typical calibration interval (trimonthly, half-yearly, yearly, other) you are presently employing.

- Physical sensors for:

 Temperature, __________________                  Conductivity (Salinity), _______________

 Dissolved oxygen, __________________          Water Currents, __________________

 Pressure, __________________

- Optical sensors for:

 Chlorophyll a, __________________                Turbidity, __________________

 Photosynthetically Active Radiation (PAR), __________________

- Chemical sensors for:

 Phosphates, __________________                    Silicates, __________________

 Nitrates, __________________                         Nitrites, __________________

 Ammonia, __________________                      Dissolved oxygen, __________________

 pH, __________________                                 Total alkalinity, __________________

 Total carbon dioxide, __________________    Dissolved organic carbon, __________________

 Total organic carbon, __________________

- Task 4.1.1 Physical Sensors

(* Please provide a separate sheet for each parameter)

Part b: Calibration

Parameter/measurand*: 	current speed

Unit of measurement: 	cm/s

Range: 			0-500 cm/s

Accuracy: 			±0.15 cm/s

Precision: 			0.55cm/s (standard deviation)

Calibration uncertainty (if available): ______________________________

Parameter/measurand*:	current direction

Unit of measurement:		degree

Range: 			0-360° magnetic

Accuracy:			± 5° for 0-15° tilt

Precision:			 0.35°

Calibration uncertainty (if available): ______________________________

Parameter/measurand*:	pressure

Unit of measurement: 	m

Range: 			0 to 10 m (0-100kPa)

Accuracy: 			± 2 % of range

Precision: 			0.1% of range

Calibration uncertainty (if available): ______________________________

Parameter/measurand*:	temperature

Unit of measurement: 	°C (Celsius degree)

Range: 			-2 to + 40°C

Accuracy:			± 0.1

Precision: 			0.05 °C_

Calibration uncertainty (if available): ______________________________

- How often do you calibrate the sensor/s or sensor system/s you are presently using for the specified parameter/measurand: please list the typical calibration interval/s you are employing; note that if you are calibrating irregularly, kindly specify why and when (e.g. before a deployment, following a malfunction, etc.).

we check temperature data with the CTD measurements and we periodically test pressure data comparing to ones of the “national tidegauge network” in Ancona

2. Please provide a brief description of the calibration setup, including a list of the principal equipment, reference material (certified and/or conventionally accepted) and instrumentation involved in a typical calibration operation.

we check temperature data with CTD SBE9plus

3. Do you employ reference material which are mutable or unstable

(e.g. secondary standards, reagent solutions, gas mixtures,

pressure generators, etc.) to calibrate the sensor/s or sensor system/s

you are presently using for the specified parameter/measurand. 			No

4. In your view, does your facility ensure an effective traceability chain for the

specified parameter/measurand? 								    Yes/No

5. Please provide a brief description of the procedures employed to ensure adherence of the performances of the principal equipment and reference instrumentation of the calibration setup to factory specifications (in-house monitoring of performance, in loco re-calibration, servicing by the manufacturer, etc.).

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

(Add lines as necessary)

6. Does your facility maintain a Manual with a description of the calibration method

and the measuring procedures, together with details of sample treatment and

preparation when these steps are present? 						Yes/No

(If Yes, kindly attach a copy to the completed questionnaire, otherwise please provide a short, description below)

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

(Add lines as necessary)

7. In your view, is regular factory calibration/servicing necessary to obtain

optimal performances from your sensors/instrumentation for the

specified parameter/measurand in the field?                                                                      Yes/No

(If Yes, please provide details of the sensors/instrumentation, indicating also the intervals you recommend for factory calibration/servicing, below)

________________________________________________________________________________________________________________________________________________________

____________________________________________________________________________

_______________

(Add lines as necessary)

8. Do you perform field calibrations for the specified parameter/measurand? 		    Yes/No

(If Yes, please provide a brief description of the method and procedures)

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

(Add lines as necessary)

9. Does your facility perform:

- internal quality audits to monitor and assess its

calibration system for the specified parameter?					    Yes/No

-    independent quality audits to monitor and assess its

calibration system for the specified parameter?					    Yes/No

(If Yes to any of the above, please provide a brief description of the procedure/s applied, including a list of the principal equipment and instrumentation involved)

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

(Add lines as necessary)

10. Does your facility actively maintain an archive containing issued calibration

reports/certificates for the specified parameter/measurand? 				    Yes/No

(If Yes, please specify the document retention time/s)

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

11. Do you have any suggestions or ideas for improving the quality of your

calibrations for any particular sensor/sensor system you are presently using

for the specified parameter/measurand (e.g. innovative reference material,

modifications to existing methodologies or new methodologies

you have developed, etc.)?                                                                                                 Yes/No

(if Yes, please provide a brief description of your ideas and/or suggestions, including the details of the sensor/s or sensor system/s)

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

(Add lines as necessary)

12. Do you have any suggestions or ideas for improving the general quality

of the calibration of sensors or instruments for measuring the specified

parameter/measurand (e.g. testing and promoting the use of new

reference material, development of new methodologies, etc.)?                                         Yes/No

(if Yes, please provide a brief description of your ideas and/or suggestions) ___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

(Add lines as necessary)

- Submitted on: __30/11/2011_________________

(Date)

- Compiled by: _____Elio Paschini______________

(Name of respondent)