- Task 4.1 Calibration

- Overview of the calibrating facility

#1 FACILITY ID: Corsica channel mooring (MPLC)

BRIEF DESCRIPTION:  Underwater station at about 450 m depth located between the islands of Capraia and Corsica, at the sill of the Corsica channel. Equipped by SBE 37 probes and an ADCP RDI WH Longrange.

#2 FACILITY ID: Sicily channel moorings (MPLS)

BRIEF DESCRIPTION:  Two underwater stations at about 450 m and 530 m depth located between between Sicily and Tunisia, at the western sill of the Sicily Channel.  Equipped by SBE37 and SBE19 probes, and ADCPs (Nortek, RDI WH Sentinel, RDI WH Longrange).

- Contact Details

NAME/DESIGNATION (if any): ////////////

- MANAGING INSTITUTE/ORGANIZATION:  CNR National Research Council of Italy

DEPARTMENT (if any):  ISMAR Institute of Marine Sciences, L Section

ADDRESS: Forte Santa Teresa, 19036 Pozzuolo di Lerici (SP)

- COUNTRY:  Italy

- TEL:  +390187978313

- FAX:  +390187970585

Name of contact-person:     Mireno Borghini

- E-mail: mireno.borghini@sp.ismar.cnr.it

- Part a: General Information (Not compiled go to part B)

1. Does your calibrating facility possess a well-defined organizational framework with

Dedicated staff? 										    Yes/No

Clear hierarchy? 										    Yes/No

Transparent chain of responsibility for management, technical/scientific

and operational decisions)?								    Yes/No

(If No to any of the above, please provide a brief description of how your facility is organized below)

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

(Add lines as necessary)

2. Briefly describe the size and nature of the annual operating budget of your facility.

Is it funded by your Institute/Centre?							    Yes/No

If Yes, is the funding constant?							    Yes/No

Is it funded by Projects? 									    Yes/No

Is there separate funding for upgrading or acquiring new instrumentation, etc.?	    Yes/No

(Kindly provide an estimate of the annual operating budget and any additional information you think may be helpful below) ___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

(Add lines as necessary)

3. Does your facility employ Quality Management Standards - ISO 9000:2000,

ISO 10012, Good Laboratory Practice (GLP), and the like - to its calibration

systems? 								                                       Yes/No

(If Yes, please specify below)

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

(Add lines as necessary)

4. Does your facility possess any kind of accreditation for the calibrations?		    Yes/No

(If Yes, please specify the parameter/s or measurand/s concerned, the kind

of accreditation and the issuing body below)

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

(Add lines as necessary)

5. Does your facility actively endorse a policy of continual training/education of

personnel actively involved in calibration activity? 					    Yes/No

(If Yes, please provide a brief description of the kind of activities promoted below)

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

(Add lines as necessary)

6. Does your facility maintain a documented in-house Quality Assurance Programme?	    Yes/No

7. Does your facility maintain a formal Quality Manual (containing, at the

very least, listings and descriptions of equipment and procedures,

maintenance/calibration records and certificates for instrumentation, and

safety precautions and regulations)?                                                                                  Yes/No

8. Does your facility make use of control charts (Shewhart Charts, other) for

Quality Control purposes? 								    Yes/No

(If Yes, please give details below) ___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

(Add lines as necessary)

9. Can your facility assure an effective traceability chain to primary standards or,

in their absence, to conventionally accepted reference material (certified or

otherwise)?										    Yes/No

10. Does your facility furnish uncertainty estimations for its calibration systems?		    Yes/No

11. Does your facility maintain links of any kind with the National Metrology

Institute/s (NMI/s) of your country?							    Yes/No

(If Yes, please describe the nature of the relationship/s below) ___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

(Add lines as necessary)

12. In the list of sensors below, please indicate only the ones that you currently never calibrate yourselves; in each case, kindly report the calibration provider (manufacturer, other) and the typical calibration interval (trimonthly, half-yearly, yearly, other) you are presently employing.

- Physical sensors for:

× Temperature, calibrated at the  Nato Undersea Research Centre, La Spezia, Italy, by a mixed staff CNR-NURC, every 6 months.

× Conductivity (Salinity), , calibrated at the  Nato Undersea Research Centre, La Spezia, Italy, by a mixed staff CNR-NURC, every 6 months.

 Dissolved oxygen, __________________

 Water Currents

 Pressure, __________________

- Optical sensors for:

 Chlorophyll a, __________________                Turbidity, __________________

 Photosynthetically Active Radiation (PAR), __________________

- Chemical sensors for:

 Phosphates, __________________                    Silicates, __________________

 Nitrates, __________________                         Nitrites, __________________

 Ammonia, __________________                      Dissolved oxygen, __________________

 pH, __________________                                 Total alkalinity, __________________

 Total carbon dioxide, __________________    Dissolved organic carbon, __________________

 Total organic carbon, __________________

- Task 4.1.1 Physical Sensors

(* Please provide a separate sheet for each parameter)

Part b: Calibration

Parameter/measurand*: Temperature

Unit of measurement:  °C

Range: 12-29 °C

Accuracy: not available

Precision: not available

Calibration uncertainty (if available): not available

1. How often do you calibrate the sensor/s or sensor system/s you are presently using for the specified parameter/measurand: please list the typical calibration interval/s you are employing; note that if you are calibrating irregularly, kindly specify why and when (e.g. before a deployment, following a malfunction, etc.).

Typical calibration interval is about 6 months, since the fixed platforms are serviced and instruments are replaced every 6 months.

2. Please provide a brief description of the calibration setup, including a list of the principal equipment, reference material (certified and/or conventionally accepted) and instrumentation involved in a typical calibration operation.

Reference material ATB-1250 Automatic Thermometer Bridge, calibration bath, for SBE37 and SBE 39

3. Do you employ reference material which are mutable or unstable

(e.g. secondary standards, reagent solutions, gas mixtures,

pressure generators, etc.) to calibrate the sensor/s or sensor system/s

you are presently using for the specified parameter/measurand.                                      No

4. In your view, does your facility ensure an effective traceability chain for the

specified parameter/measurand? 								    Yes

5. Please provide a brief description of the procedures employed to ensure adherence of the performances of the principal equipment and reference instrumentation of the calibration setup to factory specifications (in-house monitoring of performance, in loco re-calibration, servicing by the manufacturer, etc.).

We do not use an in-house facility, but a third part calibration facility (at NURC, Nato Undersea Research Centre, La Spezia, Italy), that ensures performances by in-house monitoring, controls of the calibration bath, and which is certified ISO 9001.

6. Does your facility maintain a Manual with a description of the calibration method

and the measuring procedures, together with details of sample treatment and

preparation when these steps are present? 						Yes

(If Yes, kindly attach a copy to the completed questionnaire, otherwise please provide a short, description below)

They maintain a manual, but since it is a third-part facility we can not attach it to the questionnaire

7. In your view, is regular factory calibration/servicing necessary to obtain

optimal performances from your sensors/instrumentation for the

specified parameter/measurand in the field?                                                                      No

8. Do you perform field calibrations for the specified parameter/measurand? 		    Yes

(If Yes, please provide a brief description of the method and procedures)

During access to the infrastructure, every 6 months, we perform a control CTD cast at the mooring locations before deployment, to compare the values with the first records of the time series

9. Does your facility perform:

- internal quality audits to monitor and assess its

calibration system for the specified parameter?					    Yes

-    independent quality audits to monitor and assess its

calibration system for the specified parameter?					    No

(If Yes to any of the above, please provide a brief description of the procedure/s applied, including a list of the principal equipment and instrumentation involved)

Triple point cell, gallium cell

10. Does your facility actively maintain an archive containing issued calibration

reports/certificates for the specified parameter/measurand? 				    Yes

(If Yes, please specify the document retention time/s)

10 years

11. Do you have any suggestions or ideas for improving the quality of your

calibrations for any particular sensor/sensor system you are presently using

for the specified parameter/measurand (e.g. innovative reference material,

modifications to existing methodologies or new methodologies

you have developed, etc.)?                                                                                                 No

12. Do you have any suggestions or ideas for improving the general quality

of the calibration of sensors or instruments for measuring the specified

parameter/measurand (e.g. testing and promoting the use of new

reference material, development of new methodologies, etc.)?                                         No

- Task 4.1.1 Physical Sensors

(* Please provide a separate sheet for each parameter)

Part b: Calibration

Parameter/measurand*: Conductivity

Unit of measurement:  mS/cm

Range: 36-58 mS/cm

Accuracy: not available

Precision: not available

Calibration uncertainty (if available): not available

1. How often do you calibrate the sensor/s or sensor system/s you are presently using for the specified parameter/measurand: please list the typical calibration interval/s you are employing; note that if you are calibrating irregularly, kindly specify why and when (e.g. before a deployment, following a malfunction, etc.).

Typical calibration interval is about 6 months, since the fixed platforms are serviced and instruments are replaced every 6 months.

2. Please provide a brief description of the calibration setup, including a list of the principal equipment, reference material (certified and/or conventionally accepted) and instrumentation involved in a typical calibration operation.

Reference material ATB standard sensor, calibration bath and salinometer, for SBE37 and SBE 39

3. Do you employ reference material which are mutable or unstable

(e.g. secondary standards, reagent solutions, gas mixtures,

pressure generators, etc.) to calibrate the sensor/s or sensor system/s

you are presently using for the specified parameter/measurand.                                      No

4. In your view, does your facility ensure an effective traceability chain for the

specified parameter/measurand? 								    Yes

5. Please provide a brief description of the procedures employed to ensure adherence of the performances of the principal equipment and reference instrumentation of the calibration setup to factory specifications (in-house monitoring of performance, in loco re-calibration, servicing by the manufacturer, etc.).

We do not use an in-house facility, but a third part calibration facility (at NURC, Nato Undersea Research Centre, La Spezia, Italy), that ensures performances by in-house monitoring, controls of the calibration bath, and which is certified ISO 9001.

6. Does your facility maintain a Manual with a description of the calibration method

and the measuring procedures, together with details of sample treatment and

preparation when these steps are present? 						Yes

(If Yes, kindly attach a copy to the completed questionnaire, otherwise please provide a short, description below)

They maintain a manual, but since it is a third-part facility we can not attach it to the questionnaire

7. In your view, is regular factory calibration/servicing necessary to obtain

optimal performances from your sensors/instrumentation for the

specified parameter/measurand in the field?                                                                      No

8. Do you perform field calibrations for the specified parameter/measurand? 		    Yes

(If Yes, please provide a brief description of the method and procedures)

During access to the infrastructure, every 6 months, we perform a control CTD cast at the mooring locations before deployment, to compare the values with the first records of the time series. Samples at the instrument depth are taken to be measured with the salinometer on board.

9. Does your facility perform:

- internal quality audits to monitor and assess its

calibration system for the specified parameter?					    Yes

-    independent quality audits to monitor and assess its

calibration system for the specified parameter?					    No

(If Yes to any of the above, please provide a brief description of the procedure/s applied, including a list of the principal equipment and instrumentation involved)

Samples to be measured with the salinometer

10. Does your facility actively maintain an archive containing issued calibration

reports/certificates for the specified parameter/measurand? 				    Yes

(If Yes, please specify the document retention time/s)

10 years

11. Do you have any suggestions or ideas for improving the quality of your

calibrations for any particular sensor/sensor system you are presently using

for the specified parameter/measurand (e.g. innovative reference material,

modifications to existing methodologies or new methodologies

you have developed, etc.)?                                                                                                 No

12. Do you have any suggestions or ideas for improving the general quality

of the calibration of sensors or instruments for measuring the specified

parameter/measurand (e.g. testing and promoting the use of new

reference material, development of new methodologies, etc.)?                                         No

- Submitted on: 30th November 2011

- Compiled by: Mireno Borghini