- Task 4.1 Calibration

- Overview of the calibrating facility

- Contact Details

NAME/DESIGNATION (if any): Jukka Seppälä, senior scientist

- MANAGING INSTITUTE/ORGANIZATION: Finnish Environment Institute

DEPARTMENT (if any):  Marine Research Centre

- ADDRESS: Erik Palménin aukio 1, PL 140, 00251 Helsinki

- COUNTRY:  Finland

TEL:  +358 40 1823316

- FAX:

Name of contact-person: Jukka Seppälä

- E-mail: jukka.seppala@environment.fi

- Part a: General Information

1. Does your calibrating facility possess a well-defined organizational framework with

Dedicated staff? 										    Yes

Clear hierarchy? 										    Yes

Transparent chain of responsibility for management, technical/scientific

and operational decisions)?								    Yes

(If No to any of the above, please provide a brief description of how your facility is organized below)

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

(Add lines as necessary)

2. Briefly describe the size and nature of the annual operating budget of your facility.

Is it funded by your Institute/Centre?							    Yes

If Yes, is the funding constant?							    Yes

Is it funded by Projects? 									    No

Is there separate funding for upgrading or acquiring new instrumentation, etc.?	    Yes/No

(Kindly provide an estimate of the annual operating budget and any additional information you think may be helpful below)

For calibration activities, salary for a technician is provided for few days, other costs on the need basis.

3. Does your facility employ Quality Management Standards - ISO 9000:2000,

ISO 10012, Good Laboratory Practice (GLP), and the like - to its calibration

systems? 								                                       No

(If Yes, please specify below)

_________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

(Add lines as necessary)

4. Does your facility possess any kind of accreditation for the calibrations?		    Yes

(If Yes, please specify the parameter/s or measurand/s concerned, the kind

of accreditation and the issuing body below)

Reference measurements used are accredited (e.g. Chl a and salinity), FINAS Finnish Accreditation Service

5. Does your facility actively endorse a policy of continual training/education of

personnel actively involved in calibration activity? 					    No

(If Yes, please provide a brief description of the kind of activities promoted below)

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

(Add lines as necessary)

6. Does your facility maintain a documented in-house Quality Assurance Programme?	    Yes

7. Does your facility maintain a formal Quality Manual (containing, at the

very least, listings and descriptions of equipment and procedures,

maintenance/calibration records and certificates for instrumentation, and

safety precautions and regulations)?                                                                                  Yes

8. Does your facility make use of control charts (Shewhart Charts, other) for

Quality Control purposes? 								    Yes

(If Yes, please give details below)

Excel sheets to control changes between in situ and in vitro measurements and instrument drifts

9. Can your facility assure an effective traceability chain to primary standards or,

in their absence, to conventionally accepted reference material (certified or

otherwise)?										    Yes/No

10. Does your facility furnish uncertainty estimations for its calibration systems?		    No

11. Does your facility maintain links of any kind with the National Metrology

Institute/s (NMI/s) of your country?							    Yes

(If Yes, please describe the nature of the relationship/s below)

Annual FINAS (Finnish Accreditation Service) accreditation of the main methods.

12. In the list of sensors below, please indicate only the ones that you currently never calibrate yourselves; in each case, kindly report the calibration provider (manufacturer, other) and the typical calibration interval (trimonthly, half-yearly, yearly, other) you are presently employing.

- Physical sensors for:

 Temperature,

 Conductivity (Salinity), Seabird TSG 45 thermosalinograph (manufacturer, since 2006 systems checked by ourselves and no need for calibration so far)

 Dissolved oxygen, __________________          Water Currents, __________________

 Pressure, __________________

- Optical sensors for:

 Chlorophyll a, __________________                Turbidity, __________________

 Photosynthetically Active Radiation (PAR), __________________

- Chemical sensors for:

 Phosphates, __________________                    Silicates, __________________

 Nitrates, __________________                         Nitrites, __________________

 Ammonia, __________________                      Dissolved oxygen, __________________

 pH, __________________                                 Total alkalinity, __________________

 Total carbon dioxide, __________________    Dissolved organic carbon, __________________

 Total organic carbon, __________________

Please complete the questionnaire using the forms furnished in the following pages to provide details regarding your calibration practices for all the sensors in the above list that you do calibrate routinely.

- Task 4.1.2 Optical Sensors

(* Please provide a separate sheet for each parameter)

Part b: Calibration Parameter/measurand*: Chlorophyll a fluorescence (Turner Scufa / Wetlabs ECO FLNTU)

Unit of measurement: _Volts______________________________

Range: 	0-5 V  0 – 50/200 µg Chla L-1

Accuracy: _______________________________

Precision: 	1.2 mV – 2.5 mV  0.025 – 0.05 µg Chla L-1

Calibration uncertainty (if available): ______________________________

1. How often do you calibrate the sensor/s or sensor system/s you are presently using for the specified parameter/measurand: please list the typical calibration interval/s you are employing; note that if you are calibrating irregularly, kindly specify why and when (e.g. before a deployment, following a malfunction, etc.).

Annual check, and re-calibration if needed. In addition weekly / bi-weekly validation with in situ samples.

2. Please provide a brief description of your calibration setup for the specified parameter/ measurand, including a list of the principal equipment, reference material (certified and/or conventionally accepted) and instrumentation involved in a typical calibration operation.

Algae culture Monoraphidium contortum used as a reference material. Chla concentration of the culture determined with standard methods using fluorometry and pure Chla standard (Sigma). Algae culture circulated through several fluorometers simultaneously and the calibration coefficients adjusted so that all instruments converge. Additional check with solid secondary standard is carried out for the Turner Scufa.

3. Do you employ reference material which are mutable or unstable

(e.g. biological cultures, optically-sensitive pigment extracts, etc.)

to calibrate the sensor/s or sensor system/s you are presently using for

the specified parameter/measurand.                                                                                   Yes

(if Yes, please list the types of this kind of reference material you are employing; kindly specify also the measures you take to guarantee the reliability of the reference material in terms of batch-to-batch uniformity of characteristics)

Reference material, algae culture Monoraphidium contortum is grown standard conditions, but this does not fully guarantee that chla specific fluorescence is the same from year to year. Partly this may be compensated using solid secondary standard.

4. In your view, does your facility ensure an effective traceability chain for the

specified parameter/measurand? 						                            Yes

5. Please provide a brief description of the procedures employed to ensure adherence of the performances of the principal equipment and reference instrumentation of the calibration setup to factory specifications (in-house monitoring of performance, in loco re-calibration, servicing by the manufacturer, etc.).

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

(Add lines as necessary)

6. Does your facility maintain a Manual with a description of the calibration method

and the measuring procedures, together with details of sample treatment and

preparation when these steps are present? 						    Yes

(If Yes, kindly attach a copy to the completed questionnaire, otherwise please provide a short, description below)

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

(Add lines as necessary)

7. In your view, is regular factory calibration/servicing necessary to obtain

optimal performances from your sensors/instrumentation for the

specified parameter/measurand in the field?                                                                      No

(If Yes, please provide details of the sensors/instrumentation, indicating also the intervals you recommend for factory calibration/servicing, below)

Only in the case physical damage / failure of the instrument.

8. Do you perform field calibrations for the specified parameter/measurand? 		    Yes

(If Yes, please provide a brief description of the method and procedures)

Validation sample taken weekly/bi-weekly  for quantitative Chla analysis determined with standard methods using fluorometry and pure Chla standard (Sigma).

9. Does your facility perform:

- internal quality audits to monitor and assess its

calibration system for the specified parameter?					    No

-    independent quality audits to monitor and assess its

calibration system for the specified parameter?					    No

(If Yes to any of the above, please provide a brief description of the procedure/s applied, including a list of the principal equipment and instrumentation involved)

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

(Add lines as necessary)

10. Does your facility actively maintain an archive containing issued calibration

reports/certificates for the specified parameter/measurand? 			                Yes

(If Yes, please specify the document retention time/s)

All reports stored until now, no need to throw these away!

11. Do you have any suggestions or ideas for improving the quality of your

calibrations for any particular sensor/sensor system you are presently using

for the specified parameter/measurand (e.g. innovative reference material,

modifications to existing methodologies or new methodologies

you have developed, etc.)?                                                                                                 Yes

(if Yes, please provide a brief description of your ideas and/or suggestions, including the details of the sensor/s or sensor system/s)

Solid secondary standards should be provided by manufacturers (not available in Wetlabs).

New inert reference material for Chla calibrations should be found. Calibration with cultures will never yield comparable results.

12. Do you have any suggestions or ideas for improving the general quality

of the calibration of sensors or instruments for measuring the specified

parameter/measurand (e.g. testing and promoting the use of new

reference material, development of new methodologies, etc.)?                                         No

(if Yes, please provide a brief description of your ideas and/or suggestions)

New inert reference material for Chla calibrations should be found. Calibration with cultures will never yield comparable results.

- Submitted on:  5.1.2012

(Date)

- Compiled by: Jukka Seppälä

(Name of respondent)

- Task 4.1.2 Optical Sensors

(* Please provide a separate sheet for each parameter)

Part b: Calibration Parameter/measurand*: Turbidity (Turner Scufa / Wetlabs ECO FLNTU)

Unit of measurement: Volts______________________________

Range: 0-5 V  0-25/50 NTU

Accuracy: _______________________________

Precision:  0.01 NTU

Calibration uncertainty (if available): ______________________________

1. How often do you calibrate the sensor/s or sensor system/s you are presently using for the specified parameter/measurand: please list the typical calibration interval/s you are employing; note that if you are calibrating irregularly, kindly specify why and when (e.g. before a deployment, following a malfunction, etc.).

Annual check, and re-calibration if needed. In addition bi-weekly validation with in situ samples.

2. Please provide a brief description of your calibration setup for the specified parameter/ measurand, including a list of the principal equipment, reference material (certified and/or conventionally accepted) and instrumentation involved in a typical calibration operation.

Calibration media made with formazin is circulated through several instruments simultaneously and the calibration coefficients adjusted so that all instruments converge.

3. Do you employ reference material which are mutable or unstable

(e.g. biological cultures, optically-sensitive pigment extracts, etc.)

to calibrate the sensor/s or sensor system/s you are presently using for

the specified parameter/measurand.                                                                                   No

(if Yes, please list the types of this kind of reference material you are employing; kindly specify also the measures you take to guarantee the reliability of the reference material in terms of batch-to-batch uniformity of characteristics)

____________________________________________________________________________ ______________________________________________________________________________________________________________________________________________________________________

(Add lines as necessary)

4. In your view, does your facility ensure an effective traceability chain for the

specified parameter/measurand? 						                            Yes

5. Please provide a brief description of the procedures employed to ensure adherence of the performances of the principal equipment and reference instrumentation of the calibration setup to factory specifications (in-house monitoring of performance, in loco re-calibration, servicing by the manufacturer, etc.).

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

(Add lines as necessary)

6. Does your facility maintain a Manual with a description of the calibration method

and the measuring procedures, together with details of sample treatment and

preparation when these steps are present? 						    Yes

(If Yes, kindly attach a copy to the completed questionnaire, otherwise please provide a short, description below)

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

(Add lines as necessary)

7. In your view, is regular factory calibration/servicing necessary to obtain

optimal performances from your sensors/instrumentation for the

specified parameter/measurand in the field?                                                                      No

(If Yes, please provide details of the sensors/instrumentation, indicating also the intervals you recommend for factory calibration/servicing, below)

Only in the case physical damage / failure of the instrument.

8. Do you perform field calibrations for the specified parameter/measurand? 		    Yes

(If Yes, please provide a brief description of the method and procedures)

Validation sample taken bi-weekly for laboratory turbidity measurements.

9. Does your facility perform:

- internal quality audits to monitor and assess its

calibration system for the specified parameter?					    No

-    independent quality audits to monitor and assess its

calibration system for the specified parameter?					    No

(If Yes to any of the above, please provide a brief description of the procedure/s applied, including a list of the principal equipment and instrumentation involved)

___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

(Add lines as necessary)

10. Does your facility actively maintain an archive containing issued calibration

reports/certificates for the specified parameter/measurand? 			                Yes

(If Yes, please specify the document retention time/s)

All reports stored until now, no need to throw these away!

11. Do you have any suggestions or ideas for improving the quality of your

calibrations for any particular sensor/sensor system you are presently using

for the specified parameter/measurand (e.g. innovative reference material,

modifications to existing methodologies or new methodologies

you have developed, etc.)?                                                                                                 No

(if Yes, please provide a brief description of your ideas and/or suggestions, including the details of the sensor/s or sensor system/s)

________________________________________________________________________________________________________________________________________________________________________

(Add lines as necessary)

12. Do you have any suggestions or ideas for improving the general quality

of the calibration of sensors or instruments for measuring the specified

parameter/measurand (e.g. testing and promoting the use of new

reference material, development of new methodologies, etc.)?                                         No

(if Yes, please provide a brief description of your ideas and/or suggestions) ___________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

(Add lines as necessary)

- Submitted on:  5.1.2012

(Date)

- Compiled by: Jukka Seppälä

- (Name of respondent)